Lesson Plan

General Industry Training Program (10-hour)

# Topic:  Flammable and Combustible Liquids

## Overview of the OSHA Standard

This standard applies to the handling, storage and use of flammable and combustible liquids with a flash point below 2000 F.  There are two primary hazards associated with flammable and combustible liquids:  explosion and fire.  In order to prevent these hazards, this standard addresses the primary concern of design and construction, ventilation, ignition sources and storage.

# Step 1:  Planning the Lesson

(  Instructional Materials.

- PowerPoint presentation

- Instructor notes.

- Other materials.

(  Instructional Objectives.

- Complete the required topics for the OSHA 10-hour course.

- Complete the following optional topics:

a.

b.

c.

- Present Flammable and Combustible Liquids to [number] participants.

- Incorporate active participation in each lesson.

- Provide a quiz or short evaluation at the end of the course.

- Ensure feedback from participants at various points in the training.

(  Guest Speakers/Presenters and Topics/Responsibilities.

# Step 2:  Presenting the Lesson

(  Lesson Introduction

Introductory remarks or transition from previous lesson.

(  Learning Objectives/Outcomes.

Upon completion of the lesson, participants will be able to:

- Define flash point, flammable liquid, and combustible liquid.

Possible responses.

(  The flash point is the minimum temperature at which a liquid gives off

enough vapor to form an ignitable mixture.

(  Flammable liquids have flash points below 1000 F.

(  Combustible liquids have flash points at or above 1000 F.

(  Learning Objectives/Outcomes (Continued)

- Explain at least 2 ways to avoid explosion or fire from flammable or combustible liquids.

Possible responses.

(  Practice safe handling, storage, fire control and ventilation.

(  Ensure flammables and combustibles are properly stored.

(  Always handle and transfer flammable or combustible liquids using proper

containers; or through proper transfer systems that employ a safety faucet, a

safety pump, or a closed piping system.

- List 4 potential sources of ignition for flammable and combustible liquids.

Possible responses.

(  open flames   				(  hot surfaces

(  smoking					(  electrical and mechanical sparks

(  static electricity				(  lightning

(  cutting and welding

- Identify at least 2 actions that apply to each of the 4 components of a good

plan for safe use of flammable and combustible liquids.

Possible responses.

(  Control of Ignition Sources              a.  Identify sources of ignition.

b. Always use bonding and grounding

when transferring flammable liquids

into/from containers.

c. Always provide adequate ventilation

to reduce the potential for ignition.

(  Proper Storage                                  a.  Identify compatible chemicals.

b. Isolate and separate incompatible

materials.

c. Ensure storage doesn’t limit safe

egress.

d. Store in proper area, cabinet, or

container.

e. Label storage areas/cabinets.

f.  Store waste and residue in covered

containers and dispose of daily.

(  Learning Objectives/Outcomes (Continued)

(  Fire Control                                     a. Ensure proper hoses, fire

extinguishers or other fire control

devices are available where

flammable or combustible liquids

are stored.

b. Do not permit flames or smoking

in areas where flammable or

combustible liquids are stored.

c. Store materials that react with water

in a room separate from flammable

and combustible liquids.

(  Safe Handling                                 a. Transfer by means of a safety pump.

b. Transfer by gravity through an

approved self-closing safety faucet.

c. Transfer through a closed piping

system.

d. Transfer from safety cans.

(  Planned Activities, Discussion or Participant Interaction.

# Step 3:  Evaluating Student Learning and Instruction

(  Lesson Evaluation and Comments.

# References

## OSHA Standard

(  29 CFR 1910.106 Subpart H – Flammable and Combustible Liquids (1910.106)

- http://www.osha-slc.gov/OshStd_data/1910_0106.html

## OSHA Publications

- http://www.osha-slc.gov/OshDoc/Additional.html

(  3088  How to Prepare for Workplace Emergencies

OSHA References/Resources

(  OSHA’s Small Business Outreach Training Program, Flammable and Combustible

Liquids

- http://www.osha-slc.gov/SLTC/smallbusiness/sec8.html

(  OSHA Technical Links – Ventilation

- http://www.osha-slc.gov/SLTC/ventilation/index.html

(  Self-Inspection Checklists

- http://www.osha-slc.gov/SLTC/smallbusiness/chklist.html#Flammable